Observing Log
UT Date: 9 March, 2014
Observers: Mike	Target: Corot 7 (Planet)	Pointing:	Observatory: Baker 0.4m Instrument: RS1340b Binning: 2x2	Temp: -100C Run Name: bak09Mar14T
Dewar Notes: cold @7pm. NOT topped off. Still cold at 12:45am.
 UT Start: 00:57:455	Local Start Time: 7:58pm	Timing at start: NTP
Conditions: 50% Moon 29o N of target. Clear, twilight at start. FWHM=2.7 pixels in r. 81% humidity after about 10pm.
Filter(s): Sloan r & g, I	ExpTime: 25seconds in each filter.

End: UT Time: 5:45	Reason: HA=4/high airmass	# of Frames: 205

Notes: Sky flats during evening twilight.
27-31: Dome occultation. NEED that scope camera!
~40: Meridian
Transit should begin around 10:12pm. ~Image #96
A fair bit of stellar motion across the CCD. Also, bright sky is illuminating circles on/under CCD cover. Lots of bad spots!
103: Turned on dry Nitrogen. in case there's condensation on the chip. Hard to tell, but there might be.
120: FWHM still ~2.8. So seeing is holding, though it seems a bit humid.
Transit should end around 11:18, Image #143
205: End 12:44am. CCD still cold.